DESCRIPTION

The work shall consist of removing and disposing the entire existing reinforced concrete structure as shown on the plans and in accordance with these specifications.

MATERIALS

Not specified

CONSTRUCTION DETAILS

The contractor shall perform all work in the Contract Documents in a proficient manner with due regard to the safety of the employees and of the public.  The contractor shall comply with all rules, regulations, and standards of the Occupational Safety and Health Administration, U.S. Department of Labor in the performance of the work required by the Contract Documents in all matters regarding the safety and protection of persons employed in construction, excavation, and demolition work.  The contractor shall also meet all applicable requirements of the State of New York Department of Labor, Industrial Code Rule 53 regarding construction, excavation, and demolition operations.

The contractor shall solely be responsible for the safety of his personnel and equipment and shall so conduct his business to protect the welfare of all persons who may be on or near the site.  All current Federal, State and local safety regulations shall be adhered to by the contractor on the project.

Demolition work, subject to the requirements of OSHA Standards and New York State Industrial Code  Rule 53, shall not be performed by the use of explosives unless specific variation for such use be granted in writing by the town or county.

METHOD OF MEASUREMENT

The work will be measured as a lump sum when completed.

BASIS OF PAYMENT

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C202.30 | Removing Existing Concrete Structure | LS |