DESCRIPTION

The work shall conform to the requirements of NYSDOT Standard Specifications, Section 203, latest revision, with the following modifications:

MATERIAL

The materials shall meet the  gradation  requirements of NYSDOT Standard Specifications, Section 703-07 Concrete Sand, latest revision.

METHOD OF MEASUREMENT

Quantities shall be computed in cubic yards in the final compacted position.

BASIS OF PAYMENT

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C203.30 | Pipe Backfill - Sand | CY |