DESCRIPTION

This work shall consist of removing traffic signal equipment as shown on the plans and as ordered by the engineer.

CONSTRUCTION DETAILS

The contractor shall carefully remove existing vehicle signal heads, mast arms, signal poles, pedestrian signal heads, pedestrian buttons and signs, sonic detectors, controllers, controller cabinets, span wires, and signal cable as shown on the plans.

The removed equipment shall be returned to the Monroe County Department of Transportation  Traffic Signal Complex at no cost to Monroe County.

Care shall be exercised in removing and salvaging electrical equipment so that it will remain in its original form and existing condition whenever possible.  The contractor will be required to replace at his own expense any traffic signal equipment which is determined by the engineer to have been damaged or destroyed by the contractor’s operations.

METHOD OF MEASUREMENT

Payment for signal equipment removal will be made on a lump sum basis.  Payment will be made for the percent of lump sum as specified on the contract plans upon completion of the signal equipment removal work specified at each location.

BASIS OF PAYMENT

The lump sum price bid for signal equipment removal shall include removal, handling, transportation and storage and all labor, tools, equipment and incidentals necessary to compete the work in accordance with the plans and specifications.

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C686.79 | Signal Equipment Removal | LS |